## Utilities
ELECTRIC BILLING ANNUAL SUMMARY
Location:
Meter #
Account #
Read Dates |  | Days | HDD | CDD | kWh Readings |  |  | kW | Charges | [5 empty] | ¢/kWh |  | Demand
Start | End |  |  |  | Initial | Final | kWh |  | Fixed | kWh | kW | 3rd Party | Subtotal | Total | Bill | 3rd Party | $/kW | %
|  | 0 |  |  |  |  | 0 | [5 empty] | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | 0 |  |  |  |  | 0 | [5 empty] | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | 0 |  |  |  |  | 0 | [5 empty] | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | 0 |  |  |  |  | 0 | [5 empty] | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | 0 |  |  |  |  | 0 | [5 empty] | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | 0 |  |  |  |  | 0 | [5 empty] | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | 0 |  |  |  |  | 0 | [5 empty] | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | 0 |  |  |  |  | 0 | [5 empty] | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | 0 |  |  |  |  | 0 | [5 empty] | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | 0 |  |  |  |  | 0 | [5 empty] | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  | 0 |  |  |  |  | 0 | [5 empty] | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | SUMMARY OUTPUT
|  | 0 |  |  |  |  | 0 | [5 empty] | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| Billing Days: | 0 |  |  |  | Average Monthly Use: | 0 | kWh | [5 empty] | Average Cost per kWh: | #DIV/0! | cents |  |  | Regression Statistics
[13 empty] | Annual Cost: | 0
COLUMN DESCRIPTIONS:
Start and End Dates (OPTIONAL): The start data is the beginning of the billing period and the end date is usually the date when the meter is read. | [19 empty] | Multiple R | 0.87433
Days (CALCULATED): Number of days in the billing period. This column is calculated, but the values can be overridden.
HDD and CDD (OPTIONAL): Heating and Cooling Degree Days. May be useful for understanding how the use varies with heating or cooling.
Initial and Final Readings: The beginning and ending kilowatt-hour readings from the meter.
kWh: Kilowatt-hours - This is calculated from the initial and final readings, but may be overriden with the kilowatt-hour total from the bill.
kW: This is the demand, in kilowatts. Some bills will not show demand, in which case this column should be 0
CHARGES:
Fixed: Any fixed fees, Including service charges, one time fees and other charges not related to use (kW-hour) or demand (kW)
kWh: All charges based on the electrical use in kilowatt-hours (except 3rd party charges). The number in this column should be the sum of all kilowatt-hour charges
kW: All charges based on electrical demand in kW or kVA. The number in the column should be the sum of all the kW(or kVA) charges.
3rd Party: Electrical customers may use a 3rd party to supply the electricity. These charges are typically shown separately.
Subtotal (CALCULATED): The sum of all charges from the electrical service provider. This total does not include third party costs.
Total (CALCULATED): The total charges on the bill. This includes third party charges.
Bill (¢/kWh) (CALCULATED): The cost per kilowatt for the billing period.
3rd Party (¢/kWh) (CALCULATED): The cost per kilowatt charged by a third party supplier.
Demand $/kW (CALCULATED): The charge for each kW of demand (only for customers that are billed for demand)
Demand % (CALCULATED): The percentage of the total bill that is attributable to demand. High percentages (>25%) indicate loads that are unevenly distributed over time.

## Instructions
INSTRUCTIONS AND SAMPLE DATA
This spreadsheet provides a summary of electricity usage and costs based on up to 12 months of billing data. Electric bills usually provide most or all of the information on the spreadsheet.
The completed spreadsheet calculates the average monthly use, total annual cost and average cost per kilowatt-hour. The rightmost column shows how much of the bill is attributable to demand (kilowatts). When this number is high (above 25%) it usually means the the electric load is not evenly distributed over time. This can be caused by large equipment that only operates intermittently. Highlighted data shows when the highest usage, highest cost, greatest demand and largest percentage attributable to demand occurred.
SAMPLE DATA:
Read Dates |  | Days | HDD | CDD | kWh Readings |  |  | kW | Charges | [5 empty] | ¢/kWh |  | Demand
Start | End |  |  |  | Initial | Final | kWh |  | Fixed | kWh | kW | 3rd Party | Subtotal | Total | Bill | 3rd Party | $/kW | %
2012-01-01 | 2012-01-30 | 29 | 1 | 211 | 21245 | 23900 | 2655 | 30.9 | 24.5 | 0 | 238.87 | 329.54 | 263.37 | 592.91 | 22.3318 | 12.4121 | 7.7304 | 40.29%
2012-01-30 | 2012-02-28 | 29 | 0 | 463 | 23900 | 28690 | 4790 | 30.6 | 24.5 | 0 | 438.46 | 645.79 | 462.96 | 1108.75 | 23.1472 | 13.482 | 14.3288 | 39.55%
2012-02-28 | 2012-03-30 | 31 | 2 | 193 | 28690 | 33116 | 4426 | 31.9 | 24.5 | 0 | 404.18 | 615.66 | 428.68 | 1044.34 | 23.5956 | 13.9101 | 12.6702 | 38.7%
2012-03-30 | 2012-04-30 | 31 | 87 | 135 | 33116 | 38404 | 5288 | 33 | 24.5 | 0 | 460.05 | 1351.22 | 484.55 | 1835.77 | 34.7158 | 25.5526 | 13.9409 | 25.06%
2012-04-30 | 2012-05-29 | 29 | 234 | 41 | 38404 | 41969 | 3565 | 34.1 | 24.5 | 0 | 316.68 | 594.99 | 341.18 | 936.17 | 26.26 | 16.6898 | 9.2868 | 33.83%
2012-05-29 | 2012-06-30 | 32 | 555 | 0 | 41969 | 43953 | 1984 | 29.9 | 24.5 | 0 | 188.49 | 275.97 | 212.99 | 488.96 | 24.6452 | 13.9098 | 6.304 | 38.55%
2012-06-30 | 2012-07-31 | 31 | 866 | 0 | 43953 | 46555 | 2602 | 28.4 | 24.5 | 0 | 243.51 | 508.83 | 268.01 | 776.84 | 29.8555 | 19.5553 | 8.5743 | 31.35%
2012-07-31 | 2012-08-30 | 30 | 1019 | 0 | 46555 | 49381 | 2826 | 28.3 | 24.5 | 0 | 255.69 | 393.1 | 280.19 | 673.29 | 23.8248 | 13.9101 | 9.035 | 37.98%
2012-08-30 | 2012-09-30 | 31 | 1080 | 0 | 49381 | 53725 | 4344 | 27.7 | 24.5 | 0 | 380.19 | 692.57 | 404.69 | 1097.26 | 25.2592 | 15.9431 | 13.7253 | 34.65%
2012-09-30 | 2012-10-31 | 31 | 902 | 0 | 53725 | 56562 | 2837 | 27.8 | 24.5 | 0 | 254.56 | 452.3 | 279.06 | 731.36 | 25.7793 | 15.9429 | 9.1568 | 34.81%
2012-10-31 | 2012-11-30 | 30 | 449 | 3 | 56562 | 58616 | 2054 | 27.9 | 24.5 | 0 | 190.75 | 327.47 | 215.25 | 542.72 | 26.4226 | 15.943 | 6.8369 | 35.15%
2012-11-30 | 2012-12-31 | 31 | 166 | 24 | 58616 | 60827 | 2211 | 27.6 | 24.5 | 0 | 200.84 | 187.01 | 225.34 | 412.35 | 18.6499 | 8.4582 | 7.2768 | 48.71%
| Billing Days: | 365 |  |  |  | Average Monthly Use: | 3298.5 | kWh | [5 empty] | Average Cost per kWh: | 25.3739 | cents
[13 empty] | Annual Cost: | 10240.72
This worksheet is protected to prevent inadvertent modification of its contents.
Formulas:
Read Dates = [End, row above]

## Data
Password
ELECTRIC